## Tabelle1
refrigerant | sorbent | sorbent-subtype | type | measurements-procedure | measurements-type | pressures | temperatures | loadings | uncertainty-data-source | uncertainty-pressure-abs | uncertainty-pressure-rel | uncertainty-temperature-abs | uncertainty-temperature-rel | uncertainty-loading-abs | uncertainty-loading-rel | comment | literature
- | - | - | - | - | - | in Pa | in K | in kg/kg or mol/mol | - | in Pa | in % | in K | in % | in kg/kg or mol/mol | in % | - | -
R-1234ze(E) | lubricant | POE | abs |  | isosteres | 1292501,1029196,803938,581901,503380,420295,311519,211205,183782,128926,984390,741215,56963,407809,294105,208788,185543,168512,1210226,923473,697313,543429,464198,385678,275017,196076,176172,1266712,989578,741873,569599,474978,406911,291799,203072,202527,183123,183078,629668,500944,404528,307789,222151,159232,111333,108539,1044802,820530,640331,485268,349668,248806,181016 | 333.2856,324,315,303,298,292,283,272,268,334,323,313,303,292,282,273,270,267,334,323,312,304,298,292,282,273,270,334,324,313,304,297,293,283,272,272,269,269,334,323,314,304,293,283,274,272,334,323,314,304,293,282,273 | 1,1,1,1,1,1,1,1,1,0.974256055,0.974256055,0.974256055,0.974256055,0.974256055,0.974256055,0.974256055,0.974256055,0.974256055,0.902104721,0.902104721,0.902104721,0.902104721,0.902104721,0.902104721,0.902104721,0.902104721,0.902104721,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.948497399,0.607072087,0.607072087,0.607072087,0.607072087,0.607072087,0.607072087,0.607072087,0.607072087,0.803684751,0.803684751,0.803684751,0.803684751,0.803684751,0.803684751,0.803684751 | table | 1720 |  | 0.04 |  | 0.005 |  |  | Bock, Jessica (2015): VAPOR-LIQUID EQUILIBRIA OF A LOW GWP REFRIGERANT, R-1234ZE(E), MIXED WITH A POE LUBRICANT. PhD Thesis. University of Illinois at Urbana-Champaign, Illinois.