## Tabelle1
refrigerant | sorbent | sorbent-subtype | type | measurements-procedure | measurements-type | pressures | temperatures | loadings | uncertainty-data-source | uncertainty-pressure-abs | uncertainty-pressure-rel | uncertainty-temperature-abs | uncertainty-temperature-rel | uncertainty-loading-abs | uncertainty-loading-rel | comment | literature
- | - | - | - | - | - | in Pa | in K | in kg/kg or mol/mol | - | in Pa | in % | in K | in % | in kg/kg or mol/mol | in % | - | -
R-22 | lubricant | POE | abs |  | isotherms_p | 68570,152290,230410,242760,244470,159120,305920,436140,486870,516030,277090,571990,790020,901070,932960,367630,744810,1028650,1169860,1199030,463640,958750,1316680,1493540,1550120,584330,1202910,1643120,1861120,1950610,746170,1504640,2013430,2324680,2452570,899810,1836560,2496220,2876010,3012160,1094560,2209590,3006450 | 253.15,253.15,253.15,253.15,253.15,263.15,263.15,263.15,263.15,263.15,273.15,273.15,273.15,273.15,273.15,283.15,283.15,283.15,283.15,283.15,293.15,293.15,293.15,293.15,293.15,303.15,303.15,303.15,303.15,303.15,313.15,313.15,313.15,313.15,313.15,323.15,323.15,323.15,323.15,323.15,333.15,333.15,333.15 | 0.630196461,0.814844955,0.91081122,0.964411493,0.992347651,0.624751239,0.812766256,0.910452102,0.964662591,0.991966901,0.619978699,0.811996163,0.908581715,0.96433286,0.992091271,0.613426407,0.810610712,0.908990253,0.964943049,0.991898626,0.613080746,0.811041174,0.907757701,0.964535305,0.991954214,0.611740569,0.807635018,0.906278416,0.963604387,0.991617264,0.611152413,0.807555944,0.905363045,0.963497562,0.991522744,0.603220579,0.805503221,0.903934439,0.963597068,0.990840913,0.601553242,0.806086186,0.901627033 | figure | 345 |  | 0.12 |  |  |  |  | Martz, W. L.; Jacobi, A. M. (1994): Refrigerant-Oil Mixtures and Local Composition Modeling. Hg. v. Air Conditioning and Refrigeration Center. College of Engineering. University of Illinois at Urbana-Champaign. Air Conditioning and Refrigeration Center TR-68. Online verfügbar unter http://hdl.handle.net/2142/10986.
R-22 | lubricant | POE Castrol SW 46 | abs |  | isotherms_p |  |  |  | table | [7 empty] | Fleming, J. S.; Yan, Y. (2003): The prediction of vapour–liquid equilibrium behaviour of HFC blend–oil mixtures from commonly available data. In: International Journal of Refrigeration 26 (3), S. 266–274. DOI: 10.1016/S0140-7007(02)00130-5.